## Slide 2: How to make optical communication products That Facebook will want to buy
Nathan Farrington
  Data Center Network Engineer
  2013-03-17 (OIDA Workshop, Anaheim, CA)
Notes: This talk will describe the current data center network and optical interconnect architectures at Facebook, our roadmap going forward, and advice on how to do business with Facebook.

## Slide 3: Agenda
1 | Datacenter network architecture
2 | Wishlist
3 | Doing business with Facebook

## Slide 4: Datacenter network architecture

## Slide 5
1. Capacity & redundancy
RSW
CSW
DR
RSW
CSW
DR
RSW
RSW
The Internet

## Slide 6
2. Backbone for predictable performance
Leased circuits through The Internet
BB
BB
BB
BB
BB
BB

## Slide 7
3. POPs to reduce latency
BB
PR
PR
BB
Leased circuits through The Internet
The Internet

## Slide 8: Main point of entry

## Slide 9: A few overhead cable trays

## Slide 10: Challenge: HTTP request amplification
This 1 KB HTTP request generated 930 KB of internal network traffic
This measurement is not necessarily representative of all traffic

## Slide 11: Challenge: big data

## Slide 12
4. Datacenter as one computer
RSW
CSW
DR
RSW
CSW
DR
RSW
RSW
The Internet
FC
FC

## Slide 13
5. Multiple datacenters as one computer
The Internet
FA
FA

## Slide 14: Wishlist

## Slide 15
Notes: Even with more than 1B users, Facebook is still growing. Our traffic is still growing exponentially.

## Slide 16: Wishlist
More bits per second for less CAPEX and OPEX
More bits per second for less CAPEX and OPEX
More bits per second for less CAPEX and OPEX
More bits per second for less CAPEX and OPEX
More bits per second for less CAPEX and OPEX
More bits per second for less CAPEX and OPEX
More bits per second for less CAPEX and OPEX

## Slide 17: Can we have just one kind of transceiver?
40G (2013), 100G (2015)
MMF or SMF with same device
Pair of fibers (or single fiber?)
  Parallel fiber is lame, especially when you don’t even use all of them
150 m reach minimum, 1 km is better
Low cost, short lead time for any quantity
Multisource
Open source

## Slide 18: Doing business with Facebook

## Slide 19: Doing business with Facebook
We will buy non-standard/pre-standard optical products
Please work with us closely before investing your own NRE
Things change FAST!
Get access to our roadmap (NDA)
Send us samples (fully packaged)
We want to poke around on the insides of your stuff
  If this scares you then go somewhere else